## CURRENT CODES

The following is a list of frequently applicable codes currently enforced by the Town of Mont Vernon.  There are additional codes that may apply to various projects that have been adopted by the State of New Hampshire Fire Marshals Office. The code official should be consulted for specialized codes that may apply to unique projects.

### CODE					    EDITION

#### International Residential Code		2009

#### International Building Code			2009

International Plumbing Code			2009

International Mechanical Code		2009

#### National Electric Code		            2014

International Energy Conservation Code       2009

NFPA 101 Life Safety Code			2015

NFPA 54  National Fuel Gas Code		2015

NFPA 58 LP Gas Code                                  2014

NFPA 31 Oil Burning Equipment		2011

NFPA 211 Chimneys, Fireplaces, Vents

& Solid Fuel Burning Appliances	2013

NFPA 720 Carbon Monoxide Detection        2009

NFPA National Fire Alarm Code		2013

NFPA 13, 13R Sprinkler Systems	            2013

PERMIT APPLICATIONS

Permit application packages that are incomplete when submitted will not be protected from any of the following changes:

- Code update adoptions

- Fee schedule changes

- Department policy changes

Applications for building permits may not be reviewed until all required/pertinent documents have been submitted.  Permits are reviewed on a first in first out bases without exception; all reviews will be turned around in a reasonable time.  Incomplete applications will delay the process while the code reviewer requests additional information.

## FEE PAYMENTS

Permit fees are not due until such time as the permit is issued.  The department will notify the applicant when the permit is ready for issuance and the actual permit fee amount.

Ordinary repairs do not require a permit - Ordinary repairs are nonstructural repairs and DO NOT include addition to, alteration of, or replacement or relocation of water supply, sewer, drainage, drain leader, gas, soil, waste, vent or similar piping, electrical wiring, or mechanical or other work for which a permit is required by the building official.

#### FEE SCHEDULE

#### Use group (new construction, additions, alterations)

#### Minimum for any below		Min $25.00

A  	Assembly		                  .40 sq. ft               B          Business		  .40 sq. ft

F	Factory	 	                  .40 sq. ft               H          High Hazard		  .40 sq. ft

I 	Institutional		                  .40 sq. ft               M         Mercantile		  .40 sq. ft

S	Storage		                  .30 sq. ft               R-1      Residential Hotels	  .40 sq. ft

R-2	Residential Multi-family	      .40 sq. ft               R-3      Manufactured Homes    .40 sq. ft

R-3	One & Two Family Dwellings     .40 sq. ft

###### Residential

#### Minimum for any below		Min $25.00

Decks						 .30 sq. ft / .40 sq ft

Garages (attached or detached)		 .30 sq. ft

Porches, Breezeways, Carports

(Enclosed or covered)			 .30 sq. ft / .40 sq ft

Sheds, Pool Cabanas, (incidental

projects requiring a permit)		 .30 sq. ft

Three Season Rooms, Sun Rooms

additions, alterations			.30 sq ft / .40 sq. ft

Agricultural Buildings			 .30 sq. ft

- Fences (if permit required)	  	Min $25.00

INSPECTION POLICY

NO WORK IS TO BE CONCEALED UNTIL INSPECTED AND PERMISSION GIVEN TO PROCEED

- Call for inspections before 12:00pm the 24-48 hours before you want the inspection.  All requests should be made during regular business hours by calling 654-2176.

- Inspections are scheduled according to location in order to allow the inspector to establish the most efficient route each day.  However, we will attempt to meet requests for specific inspection times, as schedules allow.

- All work for which an inspection is being requested should be complete and ready for inspection during normal inspection hours on the date of the requested inspection.  If at the time the inspector arrives, the work is not ready for inspection there may be up to a 48 hour delay before another inspection can be scheduled.

###### Re-Inspections

Failure of an initial inspection will result in a re-inspection fee for each inspection required to insure compliance if the inspection cannot be performed at the next required inspection.             $25.00

NOTE:  The inspections listed below shall not limit the type or frequencies of inspections that this department may deem to be prudent to ensure complete code compliance.

Calculation Fees

Fees are based on square footage, total of all floors.  Calculated square area upon which fee is based shall be the sum of all the gross horizontal areas of all floors of the building and including cellars, basements and useable parts of attics; except that in dwelling house, attic floors shall not be included in the calculation unless they are used for habitable rooms.

All horizontal dimensions shall be taken from the exterior face of walls.

Foundation Only Permits

This fee is over and above the regular building permit fee if a full building permit is not secured within 30 days from the date the foundation permit is issued.

Residential (R-3) 		$25.00/unit

All other Use Groups		$100.00/building

###### Building Permit Renewal

This would become effective only if work is not being actively pursued or no inspections are requested for a period of 6 months or more.

1st Renewal			  NO Charge

2nd and subsequent Renewals	  50% of original fee

Demolition                                                                               Swimming Pools

Residential (R-3)		          $25.00	                          Above Ground          $25.00

#### All other use groups		          $100.00	                          IN-Ground	based on square footage

###### Electrical Wiring                                                                             Fireplace/Chimney		$25.00

(installation, replacement, alteration)	Min $25.00

###### Plumbing                                                                                          Mechanical		             $25.00

(installation, replacement, alteration)	Min $25.00                 (LPG Tanks, heat and appliances, water heaters)

###### Residential Sprinkler Systems                                                      Signs

Plan review & inspection fee		$100.00                        Illuminated			$25.00

Non-illuminated		$25.00

###### Fines		Starting work without a permit

#### Residential (R-3)	25% of Building permit

Min $25 – Max $200

All other use groups	25% of Building permit

Min $25 – Max $1,500

SCHEDULE OF REQUIRED INSPECTIONS

Foundation

- Certified Plot Plan, original stamped, required prior to framing (includes dimensions of foundation, wetland locations, setback locations required by Zoning/Planning regulations, distances to a setbacks) CPP may be waved by approval of BI.

- Inspection prior to backfilling (includes footings, frost walls, piers, damp-proofing and foundation drains).

- Lot number must be posted and readily visible from street.

Frame, Rough Plumbing and Rough Electric

- Must be roof tight with all exterior doors and windows installed.

- April 1 through October 31 – Water Test Drain/Vent system.

- November 1 through March 31 – Air Test

Drain/Vent System

Insulation

- Must be weather-tight.

Permanent Electric Service

- Panel interior must be exposed, ground rods

visible, and a GFCI service outlet at the panel.

Gas Lines

- Interior lines with air pressure at time of

inspection with all stops and caps in place.

- Buried lines before backfill (backfill material

must be on-site).

- Gas tank in place with fill material on sites (no

fill around tank)

Burner

- Must be operational with all safety devices in place and inspected by the Fire Department

Highway Department Sign-Off of Driveway Curb Cut One Week Prior to Request for CO Inspection.

Certificate of Occupancy

- Septic System Approval for Operation

- Planning and Zoning Acceptance if applicable.

- Current Water Test

- Fire Department Acceptance

- Building Inspectors Acceptance

- All job signs removed from site

REQUIRED DOCUMENTATION BY PERMIT

NEW–R-3 STRUCTURE

- One complete set of drawings

- Approved septic design

- Approved driveway permit

- Approved building lot

- Completed energy compliance form

- Site plan with location of proposed structure

- Residential Sprinkler Plan if applicable

NEW-ALL OTHER USE GROUPS

- One complete set of drawings with location of all required life safety devices

- Approved septic design

- Timber cut form

- Site plan approved and signed by the Planning Board

- Completed energy compliance form

- Complete fire alarm submission for approval if applicable

- Complete sprinkler submission for approval if applicable

SIGNS

- Location of proposed sign and its distances to the various lot lines

- One set of plans for the sign showing all dimensions, supports and source of illumination (if any)

- Location and sizes of any other existing signs currently located on the property or structures